Space media protocol

1. Measure 3g/L sucrose and 2.36g/L (half-strength) LS salts. Pour into appropriate beaker of deionized water. Stir with magnetic stir bar.
2. Measure 2 x 5g/L phytagel, pour into 2 separate autoclave bottles. Split solution into 2 separate autoclave bottles using graduated cylinder.
3. Put autoclave tape on bottle lids. Screw lids slightly off. Autoclave bottles for 30 min. Let cool for 15min before opening autoclave. DO NOT STAND NEAR STEAM VENT. Wear thick oven gloves and use paper towels as necessary.
4. Let stand until cool enough to handle
5. Pour media solution into plates (25m for round falcon, 35ml for square) using falcon test tube.
6. Let plates sit 20 min. For fastest cooling, do not stack plates

For storage:

Place lids on plates and put them in sterile bag. Store at 4C with lids facing down.